## Overview
Budget levels — 17 October 2026
USD planning model; no hardware owned. Equipment estimates, professional time and human validation are separate. No purchase, flash, clinical approval or human-use authorization.
Decision | Recommended interpretation
First bench | A3: $12k–$25k equipment/setup; illustrative cart $17,203.20 including hardware reserve.
Professionally run first phase | Illustrative $77,920 before tax/freight, using one program reserve rather than double-counting the separate hardware reserve.
Human-connected engineering | Choose ONE cumulative B tier. B includes an approximately $20k baseline bench allowance; do not add the entire bench budget again.
Physiological validation | Choose ONE overall C program tier. Participant counts are planning scenarios, not powered designs. Custom device engineering is separate.
Cash vs time | Bench initial cash excludes labor. Unpaid owner hours have economic cost. The Labor and TCO sheet exposes professional-time assumptions.
Recurring costs | Bench annual allowances cover cash upkeep/access after year one, not recurring professional staff. Five-year cash = setup + four upkeep years.
Price confidence | Only named price anchors are observed listings. All wider budgets and rates are original planning assumptions, not supplier quotes.
Source of truth | Read the companion report for scope, exclusions, sources and safety gates. Current software remains nominal 50 kHz only.
Safety | Track A is passive-only. Neither an evaluation board nor the link-check ELF is cleared for human connection or flashing.
Edit inputs | Blue entries are editable assumptions. Excel/compatible software recalculates formulas on opening; initial formula caches are provided.

## Assumptions
Editable planning assumptions
These are original scenario inputs, NOT wage surveys, facility quotes, powered study designs or guaranteed project costs.
Input | Value | Unit / purpose
Professional rate — low | 150 | USD/hour
Professional rate — high | 250 | USD/hour
Phase-1 rate | 200 | USD/hour
Hardware reserve | 20% | fraction; cart only
Program reserve | 25% | fraction; phase-1 or study scenario
Participants in study example | 300 | illustrative; not powered
Visits per participant | 2 | illustrative
Cost per visit | 800 | USD; fully burdened assumption, define inclusions
Study overhead | 200000 | USD beyond fully burdened visits; avoid duplicated costs
Loaded FTE cost | 240000 | USD/person-year assumption
FTE example headcount | 4 | people
FTE example years | 1 | years
TCO years | 5 | initial setup includes initial-year services
Phase-1 professional hours | 200 | one-time person-hours
Independent DUT verification | 8000 | USD; distinct from initial standard/instrument calibration

## Bench
Track A — alternative passive-only setups
Initial cash includes equipment/fixtures and specified initial services, excludes labor/tax/freight. Annual upkeep is modeled for years AFTER the initial year. Do not sum tiers.
Tier | Setup low | Setup high | Annual low | Annual high | Scope
A1 Learning | 1000 | 3000 | 200 | 800 | Bring-up, logging and simple passive checks; not traceable phase accuracy.
A2 Shared reference | 3000 | 8000 | 1000 | 4000 | Defined lab/rental/service campaign; rates and proper fixture require quotes.
A3 Owned reference | 12000 | 25000 | 1500 | 4500 | Appropriate LCR, correct fixture, calibration/standards, scope, DMM and DUT.
A4 Premium characterization | 35000 | 100000 | 3000 | 10000 | Advanced analyzer/workflow, programmable passive fixtures and temperature work.
A5 Automated lab | 100000 | 300000 | 8000 | 30000 | Automated regression/environment/unit-to-unit verification; upper bounds can be exceeded.

## Labor and TCO
Bench labor and five-year cash scenarios
Professional work is one-time setup/characterization effort. Five-year cash excludes labor; professional staff for ongoing operations are NOT included. Tiers are alternatives.
Tier | Hours low | Hours high | Labor low | Labor high | Initial + labor low | Initial + labor high | Five-year cash low | Five-year cash high
A1 Learning | 40 | 120 | 6000 | 30000 | 7000 | 33000 | 1800 | 6200
A2 Shared reference | 80 | 200 | 12000 | 50000 | 15000 | 58000 | 7000 | 24000
A3 Owned reference | 150 | 400 | 22500 | 100000 | 34500 | 125000 | 18000 | 43000
A4 Premium characterization | 400 | 1000 | 60000 | 250000 | 95000 | 350000 | 47000 | 140000
A5 Automated lab | 1500 | 4000 | 225000 | 1000000 | 325000 | 1300000 | 132000 | 420000

## Engineering
Track B — cumulative custom-device engineering
Includes an approximately $20k baseline bench allowance and engineering/compliance. Excludes large human studies, mass-production inventory and ongoing commercial operations. Choose ONE tier; do not sum.
Tier | Budget low | Budget high | Window | Milestone / limits
B1 Passive custom instrument | 100000 | 300000 | 3–6 months | Custom electronics, raw export, PCB iterations and passive verification; no human connection.
B2 Reviewed research instrument | 300000 | 1000000 | 6–12 months | Complete safety architecture, specialist testing/documentation; human work requires appropriate approvals.
B3 Segmental multifrequency platform | 750000 | 2500000 | 12–24 months | Characterized switching, contact QC, timing, mechanical/electrode/scale integration; not a validation result.
B4 Productized composition platform | 2000000 | 8000000 | 18–36+ months | Manufacturing, quality, software lifecycle, usability/cybersecurity, regulatory program for chosen claims; can exceed range.

## Validation
Track C — physiological evidence programs
Budgets through the stated milestone, including appropriate pilot/prep. Excludes custom device engineering and imaging-facility purchase. Counts are illustrative, not powered sample-size recommendations.
Tier | Budget low | Budget high | Participants low | Participants high | Scope
C1 Repeatability/feasibility | 50000 | 200000 | 20 | 50 | Repeated visits/comparators after approvals. Workflow and preliminary evidence, not universal accuracy.
C2 Focused composition study | 500000 | 2000000 | 300 | 600 | DXA/reference work, participant-level model holdout, specific population and claims.
C3 Broader/multi-site validation | 2000000 | 8000000 | 1000 | 3000 | Independent/subgroup/longitudinal evidence and selected MRI/4-compartment/fluid references; may exceed range.

## Combined scenarios
Combined program envelopes — not quotes
Engineering B includes baseline bench allowance. Validation C excludes engineering. These rows are alternative scenarios; do NOT sum them, or add every earlier tier. Broader multi-modality scope can exceed all of these.
Scenario | Engineering choice | Validation choice | Combined low | Combined high | Interpretation
Research feasibility | B2 Reviewed research instrument | C1 Repeatability/feasibility | 350000 | 1200000 | No claim of certification, success, clearance or applicability to a person; major scope changes need re-estimation.
Focused research platform | B3 Segmental multifrequency platform | C2 Focused composition study | 1250000 | 4500000 | No claim of certification, success, clearance or applicability to a person; major scope changes need re-estimation.
Product + broader validation | B4 Productized composition platform | C3 Broader/multi-site validation | 4000000 | 16000000 | No claim of certification, success, clearance or applicability to a person; major scope changes need re-estimation.

## A3 cart
Illustrative A3 equipment/setup cart
Only the $5,186 LCR line is a retrieved current listed-price anchor. Other entries are allowances; quotes, exact packing list, proper probe/fixture and uncertainty scope are required. Tax, freight, new computer and labor excluded.
Item | Quantity | Unit allowance | Extended | Basis / qualification
Kit / optional spare allowance | 1 | 1100 | 1100 | Planning allowance, not a requirement to buy two kits. Confirm controller/Z-Test/cable contents.
Hioki IM3536 | 1 | 5186 | 5186 | Detailed TEquipment listing; probe/fixture separate; stock expected Oct 21, not verified on hand.
Correct probe/interface/fixture | 1 | 1000 | 1000 | Planning allowance; match the reference plane and passive DUT, not an arbitrary SMD accessory.
Standards and initial AC calibration | 1 | 2000 | 2000 | Planning allowance; frequency/phase/uncertainty scope must be applicable.
DMM | 1 | 750 | 750 | Planning allowance; not an AC phase reference.
Oscilloscope | 1 | 1800 | 1800 | Planning allowance; debug and timing, not a substitute for LCR reference.
Bench supply | 1 | 500 | 500 | Planning allowance; passive bench only.
Additional passive fixture work | 1 | 1500 | 1500 | Planning allowance distinct from the basic probe interface.
ESD/cables/local logging | 1 | 500 | 500 | Planning allowance; manufacturer-approved connection route only.
Subtotal |  |  | 14336
Hardware reserve |  |  | 2867.2
Equipment allocation |  |  | 17203.2

## Phase 1
Professionally run first-phase example
Uses cart SUBTOTAL without its separate reserve, then applies ONE program reserve. Engineering and independent verification are modeled allowances; no quotation or purchase authorization.
Component | Amount | Meaning
Equipment/setup before reserve | 14336 | Does not also include the cart’s 20% reserve.
Professional work | 40000
Independent DUT/fixture verification | 8000 | Different scope from initial reference/standards calibration; obtain an actual service proposal.
Subtotal | 62336
Program reserve | 15584
Total | 77920
Study example — not a protocol
Fully burdened visit costs | 480000
Additional study overhead | 200000
Study example including reserve | 850000
FTE example — not added to consultant hours
Modeled team cost | 960000

## Ownership
Ownership, subscriptions and evidence gates
Price observations are not contracts. Recurring calibration/consumables can remain real costs in an entirely offline system. No legacy Withings account entitlements assumed.
Check | Required answer / evidence
Offline operation | Acquisition/local viewing after cancellation; installer/firmware access; required accounts and network documented.
Raw data | Sample per-path/per-frequency R/X/IQ export plus quality flags/config/calibration. CSV or a USB port alone is insufficient.
License scope | Perpetual vs annual/per-seat/per-test; API/export rights; used-unit transfer; cancellation behavior.
Recurring costs | Separate compulsory acquisition access from optional support, calibration, electrodes and financial leases.
Hioki price anchor | IM3536 $5,186 detailed TEquipment page; separate fixture/probe; expected Oct 21 stock, quote needed.
AD5940 kit anchor | Mouser detailed page: $497.15; possible 8% US tariff; distributor end-of-stock warning. Packing list must be confirmed.
Keysight current family | E4980BL US page: $7,391 / $10,839 / $14,264 for 300k/500k/1MHz configurations; options/fixture/quote required. E4980AL discontinued/currently supported.
MFIA anchor | Manufacturer displays $14,490 region-specific/ex-works. 500kHz base vs 5MHz upgrade/configuration must be quoted; not an all-options 5MHz price.
Rental caution | $649/month IM3536 appears in search only; detailed rental fetch did not substantiate rate. Do not book or budget it as confirmed.
Safety boundary | Evaluation board passive-only. Custom patient-connected work needs complete-system safety review and required approvals. Battery/USB isolation alone is not qualification.
Validation boundary | Models, appropriate comparators, independent participants/sites and honest errors are required; maximum frequency or displayed metric count does not establish validity.